## Inquiry Sheet
Inquiry Sheet For Economic Efficiency Calculation © by IBS
Company´s Name (required)
Company´s adress
Email (required for answer) (+ Phone number) | [5 empty] | Z_Nummer | GMT | Ort | Grad | LSM
project name (recommended)
project number (recommended)
line | Örtlichkeit | Location | 2026-07-30 |  |  | 1 | -10 | Alaska-Hawaii ST (USA) | 150° W | 150
1 | Staat | state | USA | Florida |  | 2 | 6 | Alma Ata, Kasachstan | 90° E | -90
2 | Stadt | city | Orlando |  |  | 3 | -4 | Atlantic ST (USA) | 60° W | 60
3 | Zeitzone | time zone |  |  |  | 4 | 12 | Auckland, New Zeeland | 180° E | -180
4 | Sommer-Außentemperatur | dry bulb temperature, summer conditions | 0 |  |  | 5 | -1 | Azores (Azoren) | 15° W | 15
5 | Sommer-Feuchtkugeltemperatur | wet bulb temperature, summer conditions | 0 |  |  | 6 | 4 | Baku, Russia-Aserbeidschan | 60° E | -60
6 | Sommer-Raum-Innentemperatur | indoor temperature, summer conditions | 0 |  |  | 7 | 7 | Bangkok, Thailand | 105° E | -105
| Gebäudedaten | Building |  |  |  | 8 | -2 | Central Atlantic (Mittelatlantik) | 30 °W | 30
7 | Typ der Klimatisierung | Type of air conditioning system comp. to sheet "traditional air conditioning" | choose your system |  |  | 9 | 9.5 | Central Australia | 142,5° E | -142.5
8 | klimatisierte Fläche | Area with air conditioning | 4000000 | 444444.4444 |  | 10 | 11 | Central Pacific | 165° E | -165
9 | lichte Höhe | clear height of rooms (average) | 0 | 6 | 6 | 14 | -12 | Eniwetok | 180° W | 180
10 | klimatisiertes Raumvolumen | space with air conditioning (line 8 x line 9) | 26000000 | 962962.963 |  | 15 | 0 | GMT, Greenwich Mean Time | 0° | 0
11 |  | facades - non transparent | 14000000 | 1555555.5556
12 |  | facades - transparent (taken from sheet "Sizes of Building) | 900000 | 33333.3333
13 | ständig belegte klimatisierte Fläche | permanent occupied air conditioned area | 0 |  |  | 11 | -6 | Central ST (USA) | 90° W | 90
14 | Hotel - mittlerer Belegungsfaktor | hotel building - average rate of rented apts. | 0 |  |  | 12 | 6 | Colombo, Sri Lanka | 90° E | -90
15 | Hotel - Anzahl der vermietbaren Räume | hotel building - number of rooms to rent | 0 |  |  | 13 | -5 | Eastern ST (USA) | 75° W | 75
16 | Personenzahl | number of persons (population) | 0 |  |  | 16 | 4.5 | Kabul, Afghanistan | 67,5° E | 67.5
17 | Fläche für eine Person | area per person | 0 | 0 |  | 17 | 5.5 | Kalkutta, India | 82,5° E | -82.5
18 | Beleuchtung | lighting | 0 | 0 |  | 18 | 5 | Karachi, Pakistan | 75° E | -75
19 | Apparate und Geräte | Electrical Utilities power consumer, user of electric power | 0 | 0 |  | 19 | -12 | Kwajalein | 180° W | 180
| Betriebszeiten | Cooling Load - load specified |  |  |  | 20 | 1 | MEZ (Central European Time) | 15° E | -15
20 |  | specific cooling load (internal + external) | 0 | 0 |  | 21 | -11 | Midway-Inseln | 165° W | 165
21 |  | internal cooling load | 1 | 0 |  | 22 | 3 | Moskau, Russia | 45° E | -45
22 | maximale Kühllast | external cooling load | 2 | 0 |  | 23 | -7 | Mountain ST (USA) | 105° W | 105
23 | spezifische Kühllast | total cooling load | 3 | 0 |  | 24 | -3.5 | Newfoundland (Neufundland) | 52,5 °W | 52.5
| Betriebszeiten | Cooling Load - time specified |  |  |  | 20 | 1 | MEZ (Central European Time) | 15° E | -15
24 | Monat der maximalen Kühllast | month of maximum cooling load |  |  |  | 25 | 2 | OEZ (Eastern European Time) | 30° E | -30
25 | Uhrzeit der maximalen Kühllast | time of maximum cooling load |  |  |  | 26 | -8 | Pacific ST (USA) | 120° W | 120
| Betriebszeiten | Operating time |  |  |  | 27 | 8 | Peking (Beijng), Singapur | 120° E | -120
26 | tägliche Betriebszeit | daily operating time |  |  |  | 28 | -3 | Rio de Janeiro, Brazil | 45 °W | 45
27 |  | or others like to | & to |  |  | 29 | -11 | Samoa | 165° W | 165
28 | Betriebstage je Woche | operating by day per week | 0 |  |  | 30 | 10 | Sidney, Australia | 150° E | -150
29 | Betriebsfreie Tage im Jahr | days per year without operating | 0 |  |  | 31 | 3.5 | Teheran, Iran | 52,5° E | -52.5
| Örtliche Kühleinheiten | Local Cooling Coils |  |  |  | 32 | 4 | Tiflis, Russian Georgia | 60° E | -60
30 | Kühlleistung | cooling capacity | 0 | 0 |  | 33 | 9 | Tokio, Japan | 135° E | -135
31 | Anzahl örtliche Kühleinheiten | number of local cooling coils | 0 |  |  | 34 | -9 | Yukon ST (USA) | 135° W | 135
32 | Motorleistung örtliche Kühleinheiten | electrical power input of local cooling coils | 0 | 0
| Zentralgeräte | Air Condition Plant (Design Conditions)
33 | Mindest-Außenluftvolumenstrom je Person | minimum outdoor air per person | 0 | 0
34 | Zulufttemperatur | supply air temperature | 0
35 | Kaltwasser-Vorlauftemperatur | chilled water supply temperature | 0
36 | Kaltwasser-Rücklauftemperatur | chilled water return temperature | 0
37 | Kühlerleistung im Zentralgerät | performance of cooling coil (air plant) | 0
38 | Außenluftvolumenstrom | outdoor air | 200000 | 7407.4074
39 | Zuluftvolumenstrom | supply air | 200000 | 7407.4074
40 | Abluftvolumenstrom | return air | 185000 | 6851.8519
41 | Fortluftvolumenstrom | exhaust air | 150000 | 5555.5556
42 | Abluftanteil vom Zuluftvolumenstrom | part of return air from supply air | 92.5
43 | Druckdifferenz Zuluftventilator | static pressure supply air fan | 0 | 0 | in H2O
44 | Druckdifferenz Abluftventilator | static pressure return air fan | 0 | 0 | in H2O
45 | Temperaturrückgewinnfaktor | effectiveness of sensible Energy Recovery | 0
46 | Feuchterückgewinnfaktor | effectiveness of latent Energy Recovery | 0
| Kältemaschine | Chiller
47 | Leistung der Kältemaschine | performance of chiller | 0 | tons of refrigeration
| Finanzdaten | Financial Terms and Conditions
48 | Betrachtungszeitraum | economic life | 0
49 | Zinsatz | imputed rate of interest | 0
| Bedienung und Wartung | specific costs - equipment
50 | Kosten für örtliche Kühleinheit | payment for one local cooling coil the type is taken from line 7 ! | 0 | go to line 7 and choose your system
51 | spezifische Kosten Klimaanlage ohne Kältemaschine | specific costs for air conditioning equipment without chiller | 0 | 0
52 | spezifische Kosten Kältemaschine | specific costs - chiller | 0
53 | spezifische Kosten Klimaanlage einschließlich Kältemaschine | specific costs for air conditioning equipment inclusive chiller | 0 | 0
54 | spezifische Kosten Heizung | specific costs for heating equipment | 0 | 0
55 | spezfische Kosten Solaranlage | specific costs for solar heating equipment | 0 | 0
| Bedienung und Wartung | specific costs - energy
56 |  | cost of electrical energy | 0 | ................... HP h
57 |  | cost of heating energy | 0 | ................... HP h
| Bedienung und Wartung | operating costs per year | percentage of investment | if known
58 |  | maintenance | 0 | 0
59 |  | service | 0 | 0
60 | Instandhaltung | repair | 0 | 0
Note on E14: don´t use the dot neither in decimals nor for marking the thousends ! use only the , (comma) as decimal point

## Zeit (hidden)
Z_Nummer | GMT | Location | Long. | LSM | unknown | — | Type 1 = only local units | Legend | New System Design | Traditional Air Conditioning
1 | -10 | Baku, Russia-Aserbeidschan | 150° W | 150 | January | 01:00 am | Type 2 = air / water system 1 |  | What is What? | What is What?
2 | 6 | Alma Ata, Kasachstan | 90° E | -90 | February | 02:00 am | Type 3 = air / water system 2 |  | 1 cooling coil | 1 cooling coil
3 | -4 | Atlantic Standard Time (USA) | 60° W | 60 | March | 03:00 am | Type 4 = all air sytem |  | 2 heating coil | 2 heating coil
4 | 12 | Auckland, New Zeeland | 180° E | -180 | April | 04:00 am |  |  | 3 energy recovery | 3 energy recovery
5 | -1 | Azores (Azoren) | 15° W | 15 | May | 05:00 am | or others |  | 4 fan | 4 fan
6 | 4 | Baku, Russia-Aserbeidschan | 60° E | -60 | June | 06:00 am | 08:00 am to 04:00 pm |  | 5 chiller | 5 chiller
7 | 7 | Bangkok, Thailand | 105° E | -105 | July | 07:00 am | 08:00 am to 08:00 pm |  | 6 cold water storage | 6 cold water storage
8 | -2 | Central Atlantic (Mittelatlantik) | 30 °W | 30 | August | 08:00 am | 07:00 - 12:00 am & 02:00 - 04:00 pm |  | 7 heat exchanger | 15 WC / restroom / separate exhaust air
9 | 9.5 | Central Australia | 142,5° E | -142.5 | September | 09:00 am | 06:00 - 12:00 am & 02:00 - 06:00 pm |  | 8 cooled ceiling (surface temp. = 60-62 °F) | 16 air plant
10 | 11 | Central Pacific | 165° E | -165 | October | 10:00 am | 24 hours a day |  | 9 boiler | 17 local heating / cooling coil
11 | -6 | Central Standard Time (USA) | 90° W | 90 | November | 11:00 am |  |  | 10 potable water storage (approx. 150 °F) | 18 local fan
12 | 6 | Colombo, Sri Lanka | 90° E | -90 | December | 12:00 am |  |  | 11 solar heat absorber (optional) | 19 bypass air - room to room
13 | -5 | Eastern Standard Time (USA) | 75° W | 75 |  | 01:00 pm |  |  | 12 low velocity air penetration v max. = 40 ft/min (0,2 m/s) | 20 bypass air - inside air plant
14 | -12 | Eniwetok | 180° W | 180 |  | 02:00 pm |  |  | 13 2-point regulation valve
15 | 0 | GMT, Greenwich Mean Time | 0° | 0 |  | 03:00 pm |  |  | 14 circulation pump
16 | 4.5 | Kabul, Afghanistan | 67,5° E | 67.5 |  | 04:00 pm |  |  | 15 WC / restroom / separate exhaust air
17 | 5.5 | Kalkutta, India | 82,5° E | -82.5 |  | 05:00 pm |  |  | 16 air plant
18 | 5 | Karachi, Pakistan | 75° E | -75 |  | 06:00 pm |  |  | 19 bypass air - room to room
19 | -12 | Kwajalein | 180° W | 180 |  | 07:00 pm |  |  | 20 bypass air - inside air plant
20 | 1 | MEZ (Central European Time) | 15° E | -15 |  | 08:00 pm
21 | -11 | Midway-Inseln | 165° W | 165 |  | 09:00 pm
22 | 3 | Moskau, Russia | 45° E | -45 |  | 10:00 pm
23 | -7 | Mountain Standard Time (USA) | 105° W | 105 |  | 11:00 pm
24 | -3.5 | Newfoundland (Neufundland) | 52,5 °W | 52.5 |  | midnight
25 | 2 | OEZ (Eastern European Time) | 30° E | -30
26 | -8 | Pacific Standard Time (USA) | 120° W | 120
27 | 8 | Peking (Beijng), Singapur | 120° E | -120
28 | -3 | Rio de Janeiro, Brazil | 45 °W | 45
29 | -11 | Samoa | 165° W | 165
30 | 10 | Sidney, Australia | 150° E | -150
31 | 3.5 | Teheran, Iran | 52,5° E | -52.5
32 | 4 | Tiflis, Russian Georgia | 60° E | -60
33 | 9 | Tokio, Japan | 135° E | -135
34 | -9 | Yukon Standard Time (USA) | 135° W | 135
datasheet for economic efficiency calculation © by IBS

## Traditional Air Conditioning
Please choose your current or planned air conditioning system - click the type (1-4) If your hvac-system doesn´t fit to the shown schemes - please click the one of best similarity.
Get back to the "Inquiry Sheet" line 7 ! (click on me) |  |  | Get back to the "Inquiry Sheet" line 50 ! (click on me)
Or have also a short view for our "New System Design" ! (click on me)
Type 4
exhaust air
outdoor air
supply air
return air
© by IBS
4
4
2
1
3
5
6
16
18
17
17
17
15
15
15
15
18
19
19
19
19
20
© by IBS
© by IBS

## New System Design
new design cooled ceeling (8) combined with indoor low speed air (12)
Oberflächenkühler
Nacherhitzer
WRG
Ventilator
Kältemaschine
Eisspeicher / Pufferspeicher
Wärmetauscher
Kühldecke
Heizkessel
BWB, Brauchwasserbereiter
Solaranlage
Quelllufteinlass
Ventil
Pumpe
gesonderte WC-Abluft
Get back to "Traditional Air Conditioning" ! (click on me)
exhaust air
outdoor air
supply air
© by IBS
54 °F
42 °F
63°F
59°F
4
4
2
1
3
5
6
9
10
11
7
7
14
13
19
8
12
return air
130/110 °F
16
20
15
© by IBS
© by IBS

## Sizes of the Buildings´ Floors
Please complete best guess - the grand total will be automatic transmitted to Inquiry Sheet
| lenght [ft] | width [ft] | size [ft²] |  | lenght [ft] | width [ft] | size [ft²]
1 | 1000 | 2000 | 2000000 | 21 | 1000 | 2000 | 2000000
2 |  |  | 0 | 22 |  |  | 0
3 |  |  | 0 | 23 |  |  | 0
4 |  |  | 0 | 24 |  |  | 0
5 |  |  | 0 | 25 |  |  | 0
6 |  |  | 0 | 26 |  |  | 0
7 |  |  | 0 | 27 |  |  | 0
8 |  |  | 0 | 28 |  |  | 0
9 |  |  | 0 | 29 |  |  | 0
10 |  |  | 0 | 30 |  |  | 0
11 |  |  | 0 | 31 |  |  | 0
12 |  |  | 0 | 32 |  |  | 0
13 |  |  | 0 | 33 |  |  | 0
14 |  |  | 0 | 34 |  |  | 0
15 |  |  | 0 | 35 |  |  | 0
16 |  |  | 0 | 36 |  |  | 0
17 |  |  | 0 | 37 |  |  | 0
18 |  |  | 0 | 38 |  |  | 0
19 |  |  | 0 | 39 |  |  | 0
20 |  |  | 0 | 40 |  |  | 0
© by IBS |  | S1 = | 2000000 |  |  | S2 = | 2000000
Get back to "Inquiry Sheet" - line 11 ! (click on me) | [5 empty] | grand total: | 4000000
Note on C3: don´t use the dot neither in decimals nor for marking the thousends ! use only the , (comma) as decimal point

## Sizes of the Buildings´ Facade
Please complete best guess - the grand totals will be automatic transmitted to Inquiry Sheet
orientation of walls | U-Value facade [W/m²K] | U-Value facade [BTU/ (h ft² F)] | hight [ft] | length [ft] | size [ft²] | transparent partures [%] | size [ft²] | U-Value glazing [W/m²K] | U-Value glazing [BTU/ (h ft² F)]
N | 3.522 | 20 | 1000 | 2000 | 2000000 | 15% | 300000 | 0
NNE | 0 |  |  |  | 0 | 0% | 0 | 0
NE | 0 |  |  |  | 0 | 0% | 0 | 0
ENE | 0 |  |  |  | 0 | 0% | 0 | 0
E | 0 |  |  |  | 0 | 0% | 0 | 0
ESE | 0 |  |  |  | 0 | 0% | 0 | 0
SE | 0 |  |  |  | 0 | 0% | 0 | 0
SSE | 0 |  |  |  | 0 | 0% | 0 | 0
S | 0 |  |  |  | 0 | 0% | 0 | 0
SSW | 0 |  |  |  | 0 | 0% | 0 | 0
SW | 0 |  |  |  | 0 | 0% | 0 | 0
WSW | 0 |  |  |  | 0 | 0% | 0 | 0
WSW | 0 |  |  |  | 0 | 0% | 0 | 0
WNW | 0 |  |  |  | 0 | 0% | 0 | 0
NW | 0 |  |  |  | 0 | 0% | 0 | 0
NNW | 0 |  |  |  | 0 | 0% | 0 | 0
© by IBS |  |  |  | S1 = | 2000000 | S3 = | 300000
horiz./Roof | 0 |  | 3000 | 4000 | 12000000 | 5% | 600000 | 0
slab | 0 |  |  |  | 0 | 0% | 0 | 0
Get back to "Inquiry Sheet" - line 13 ! (click on me) |  |  |  | S2 = | 12000000 | S4 = | 600000
|  |  |  | grand total: | 14000000 | grand total: | 900000
Note on E4: don´t use the dot neither in decimals nor for marking the thousends ! use only the , (comma) as decimal point

## Your Questions
Please write down all questions you have. Don´t be shy, because we follow the old sentence that says: A question never can be stupid - only the answer!

## Manual
Manual
for
Data Sheet For Economic Efficiency Calculation
© by IBS
# 1 | Unzip the "datasheet for economic efficiency calculation copyright by IBS.xls.zip" (WinZip 6.0)
# 2 | This "datasheet for ... xls.zip" includes :
| a. | Readme 1st.doc
| b. | datasheet for economic efficiency calculation copyright by IBS.xls
This workbook includes 7 worksheets in their numerical order:
1st - Inquiry Sheet, 2nd - Traditional Air Conditioning, 3rd - New System Design,
4th - Sizes of the Buildings´ Floors, 5th - Sizes of the Buildings´ Facade,
6th - Your Questions, 7th - Manual
# 3 | Open the datasheet as usual – the version is a Microsoft Excel 97 workbook.
# 4 | For different projects please copy first the entire workbook for each of them.
# 5 | For printing all sheet sizes are pre-set to american standard - 8 1/2 x 11 inches.
# 6 | General # 1: ATTENTION!
All cells are formatted with dimensions. So to keep the pre-formatting enabled
| don´t use anyway |  |  | A | the dot in decimals and
|  |  |  | B | the , (comma) for marking thousends
BUT
|  |  |  | C | use the , (comma) as decimal point
| example : |  |  | 1,987,345.01 US $ |  |  | NO!!
in words: one million nine hundred eighty seven thousend three hundred fourty five Dollars and one Cent
|  |  |  | 1987345,01 US $ |  |  | YES!!
otherwise the sheets don´t work correctly !!! (We apologize - the germans´....)
# 7 | You also can complete cells by writing the data + dimension (unit) – that way our preformatting is disabled. NOT recommended !
Effect – the manual entry will be set left side - contrary to use of , (comma).
# 8 | Go to sheet „Inquiry Sheet“ and complete at best guess all yellow colored cells.
# 9 | Reaching line 7 in „Inquiry Sheet“ please follow the hyperlink to the ...
# 10 | ... sheet „Traditional Air Conditioning“ and choose the system of best similaity by clicking (once) the type (1, 2, 3, or 4). (The type is automatic transmitted.)
# 11 | Reaching line 8 in „Inquiry Sheet“ the next hyperlink takes you to the sheet „Sizes of Buildings´ Floors“. (The grand total will be automatic transmitted.)
# 12 | Reaching line 11 in „Inquiry Sheet“ the next hyperlink takes you to the sheet „Sizes of Buildings´ Facade“. (The grand total will be automatic transmitted.)
# 13 | General # 2: |  | All dropdowns (e.g. Inquiry Sheet - line 3, 24 etc.) are chooseable / enabled.
# 14 | General # 3: |  | All yellow colored cells are enabled for input.
# 15 | General # 4: |  | All grey colored cells are disabled for input.
# 16 | Change the dimensions (units) if garbage / nonsense or simply wrong.
# 17 | After completion save the workbook(s) for your memory – recommended.
# 18 | Send back the entire workbook(s) as Email attachement(s) (desired & welcome) to
USA@ib-schleifenbaum.com
# 19 | For special questions please use your Email, our worksheet “Your Questions” or create your own one.
# 20 | WARRANTY:
You will get back our calculation of repayment within 24 hours by Email.